|  |  |  |
| --- | --- | --- |
| **Patient** **PATIENT\_IN**  **URN** URN\_IN  **DOB** DOB\_IN  **Sex** SEX\_IN | **Lab No** LAB\_NO\_IN  **Ext Ref** EXT\_REF\_IN  **Collected** COLLECTED\_IN  **Received** RECEIVED\_IN  **Specimen** SPECIMEN\_IN | **Requester** REQUESTER\_IN  **Referral Lab** REFERRAL\_LAB\_IN |

**COMMENT\_IN**

**Clinical Indication** ?Germline vs somatic origin of previously detected GENE\_IN variant.

**Correlative Morphology** CORRELATIVE\_MORPHOLOGY\_IN

**Specimen Details** SPECIMEN\_DETAILS\_IN

|  |
| --- |
| **GERMLINE VARIANT ANALYSIS REPORT** |

**Test Description** Germlinevariantanalysis of all coding regions of GENE\_IN.

|  |
| --- |
| **Result Summary Failed assay due to suboptimal DNA quantity/quality** |

**Test Methodology**

DNA is analysed by targeted gene sequencing of coding regions and flanking splice sites (within 2 bp) of the genes listed below. Libraries are prepared using a custom QIAGEN QIAseq single primer extension-based panel (Peter MacCallum Cancer Centre AllHaem v4) and sequenced on an Illumina NextSeq500 with 150 bp paired end reads. A customised CLC bioinformatics pipeline including QIAGEN CLC enterprise solutions is used to generate aligned reads and call variants (single nucleotide variants and short insertions or deletions) against the hg19 human reference genome. Variants are analysed using PathOS software (Peter Mac).

**Panel Summary**

Gene coverage in this sample is as follows

Please note variants may not be optimally detected in genes with less than 100% coverage. The gene coverage above is considered acceptable given the available information about the clinical context, however please contact the laboratory for further advice should specific genes covered at less than 100% require full coverage. A list of regions with suboptimal coverage is available upon request.

Please contact the laboratory on 03 8559 7284 if you wish to discuss this report further.

**Reported by REPORTED\_BY1\_IN**

**REPORTED\_BY2\_IN**

**Authorised by AUTHORISED\_BY\_IN**

**Reported 25-Oct-2023**